**BHARATHIAR UNIVERSITY: COIMBATORE 641 046**

**RE-TENDER NOTICE**

**Ref.No. C7 /CRTD/Botany /TANSCHE/385 / 2022 Date: 22 .04.2022**

Sealed Re-tenders are invited by the Registrar, Bharathiar University, Coimbatore 641 046 up to 3.00 P.M on **11.05.2022 in two bids (Technical & Commercial)**  from the reputed firms for the supply of **Plant Growth Chamber** to the **TANSCHE** **Project, Dept.of Botany.**

Tender documents can be downloaded from our website [www.b-u.ac.in](http://www.b-u.ac.in) from **25.04.2022 to** **11.05.2022** . The tenders shall be submitted along with the tender cost of Rs. **1770**/- and EMD of Rs.**19,000**/- in the form of DD drawn in favour of the Registrar, Bharathiar University payable at Coimbatore

**REGISTRAR i/c**

**BHARATHIAR UNIVERSITY**

**BHARATHIAR UNIVERSITY – COIMBATORE 641 046.**

**TENDER TERMS AND CONDITIONS**

1. Sealed Re-Tenders will be received by the **Registrar, Bharathiar University from the ISO Certified Firms** up to **3.00 p.m. on 11.05.2022**  in **two bids (Technical & Commercial)** for the **supply and installation of Plant Growth Chamber , TANSCHE Project ,Dept.of Botany as described in the schedule.**
2. Tender should be addressed to the Registrar, Bharathiar University and should be only in sealed covers by Registered post or in person. Tenders received in ordinary covers without seal will not be considered.
3. The tender shall be submitted in a sealed cover with **Ref. No. and superscribed** as **“Tender for the supply and installation of Plant Growth Chamber , TANSCHE Project ,Dept.of Botany Due on 11.05.2022 with the tenderers full address and contact number (MOBILE Number).** **Separate sealed covers should be used for technical and price bid and please be superscribed on the cover**. The covers received without such superscription will be rejected summarily.
4. **Technical Bids will be opened on 11.05.2022 at 4.00 p.m. by the Registrar or his/her nominee in the presence of the tenderers** or their representatives may be present at the time of opening. The representatives of the tendering firms who attends during opening of the tenders must produce their identification proof and authorization letter from the tendering firms.

**If the tenderers are unable to participate at the time of tender opening kindly be informed through mail directorcrtd@buc.edu.in**

1. **Price bids will be opened after technical evaluation of bids which will be informed later.**
2. **Faxed Bids are liable to be rejected**
3. The tender shall be accompanied with the requisite **Tender Cost of Rs. 1,770/- and EMD of Rs 19,000/-** in the form of **DD drawn in one of the Nationalized Banks** in the name of **“Registrar, Bharathiar University”** payable at Coimbatore. **Bank Guarantees or Cheques will not be accepted.**
4. enders without EMD shall be summarily rejected. EMD will not carry any interest. If tenderers specifically exempted by the Government from the payment of earnest money deposit /tender cost, necessary certificate (NSIC & MSME) in respect of the item for which the registration certificate has been obtained. Copy of the Registration Certificate along with the terms and conditions including validity time period should be enclosed and highlighted to considered the exemption. Offers submitted without proper Registration Certificate shall be rejected summarily.
5. The tenderer should meet the eligibility criteria laid down in the tender documents and the tender document should be duly signed in each page.

The tender should be substantially responsive to the technical specifications and commercial conditions set out in the tender documents.

1. Tenders which are found not to be substantially responsive under any of the above clauses shall be rejected for further scrutiny as per TN TT Act .
2. **The University is not responsible for any postal delay in receipt of tender. Delayed/Late bids will not be accepted at any circumstances. Any tender received after the due date will be returned to the tenderer.**
3. The tender shall be valid for a **maximum period of 180 days** from the date of opening of the tender in acceptance. If the tender validity is less than **180 days** the tender will be rejected as non-responsive tender.
4. Tenderer should not withdraw his tender after the tenders are opened. In case the tender is withdrawn after it is opened, the EMD will be forfeited and black listed.
5. The EMD of the unsuccessful tenders will be refunded after the tenders are disposed off by the competent authority.
6. **The technical bids should fulfill the following conditions:**
7. The brief description of the equipment with make and model should be mentioned.
8. A tenderer should be a manufacturer possessing a valid manufacturing license from the competent authority for manufacturing the items. (Documentary evidence to be furnished)
9. Manufacturer (OEM) / Authorized Dealer / Distributor / Supplier can also bid with authorization letter from the manufacturer.
10. Manufacturer should not authorize more than one dealer / distributor for participating in the tender.
11. ISO Certificate
12. Company Profile
13. Copy of the GST Registration Certificate and PAN
14. Average turnover in the last 3years & IT Return.
15. CE certification or any other relevant certification must be enclosed
16. The tenderer should not have been blacklisted or debarred from participating in tenders by any Central/State Government agencies or autonomous bodies or universities / institutions. (An undertaking to this effect should be furnished)
17. Thebidders who fulfil the eligibility criteria will be considered for technical evaluation. The price bid of the technically qualified bidders will be opened for negotiation.
18. **PRICE BID :** Price shall be quoted as per the format given in Appendix-.

The tenderer shall not carry out any alteration in the format prescribed for Price Bid. The tenderer

shall not enclose any other document or statement that will influence the price. In such an event,

the tender inviting authority shall summarily reject the tender.

1. **Imported** :The tenderer shall quote the price in currency for CIP Chennai / **FOR Coimbatore** up to the destination and should be indicated clearly both in words and figures.

I**ndigenous**: the tenderer shall quote the basic price plus GST.. No separate charges for warranty period will be considered

1. Any scoring or overwriting in the price bid should be attested by the bidder with full signature. The rate quoted should be firm and should not be subject to any variation clauses.
2. University shall not pay any increase in duties, taxes and surcharges on account of any revision by the Govt after allotment /issue of work order / at the time of supply.
3. **Price bid evaluation will be done on basic price**
4. **THE EMD IS LIABLE TO BE FORFEITED :**

i) If the Tenderer withdraws his tender after the tenders are opened., the EMD will be forfeited and black listed.

ii) If the successful tenderer fails to furnish the required security deposit or the agreement, within the stipulated time limit

iii) The EMD of the unsuccessful tenders will be refunded immediately after the tenders are

disposed of by the competent authority.

1. **PERFORMANCE SECURITY :**

Successful tenderer has to furnish Security Deposit equivalent to **5%** of the ordered value in form of Demand Draft drawn in favour of “The Registrar” Bharathiar University payable at Coimbatore

ii. The EMD of the Successful Bidder will be adjusted towards Security Deposit (SD). (Security Deposit will be released only after the expiry of the warranty period .

1. **PAYMENT**

**Imported:** 100% payment will be made through irrevocable letter of credit in favour of the Principal Supplier (OR) Currency wire transfer after supply in favour of the Principal supplier. Advance payment is not applicable

**Indigenous**: The payment will be made only after supply and installation of the equipment either by Cheque or RTGs

1. The commissioning and installation should be completed within the stipulated period mentioned in the supply order. If the supply is not made within the period, the supply order will be cancelled and the EMD & Security deposit will be forfeited.

**CUSTOMS DUTY & TAXES :**

**Imported :**

The equipment is for Research and Development activities. University is registered with DSIR and exempted from customs duty for all research equipments as per the Government Notification No: 51/ 96 Customs Dt.23.7.1996.and Government Notification No.10/97 Central Excise Dt: 1.3.1997. If the equipment has Customs Duty as per Customs Tariff of India, the tenderer should mention HS Code for the said equipment.

The University shall provide all the documents under this notification to enable the supplier to clear the goods whenever required after receipt of invoice, airway bill /shipping notice from the principal supplier . The customs clearance, transportation and delivery charges has to be borne by the supplier

**Indigenous :**

The GST and IGST will be paid as per Govt Notification No.45/2017 –Central Tax (Rate) & 47/2017-Integrated Tax(Rate) dated 14.11.2017 : NO. 9/2018-Central Tax(Rate), No.09/2018- Union Territory Tax (Rate) & No.10/2018 – Integrated Tax(Rate) dated 25.01.2018: and State Tax(Rate).

1. Any dispute arising out of this contract shall be settled only at the court having jurisdiction of

Coimbatore.

1. The authority competent to accept the tender reserves the right to reject or accept any tender without assigning any reasons thereof.
2. . Regarding the acceptance of supply with reference to the specification and quality of materials supplied, the decision of Registrar shall be final.
3. A**greement** :

For the fulfilment of the order, Successful tenderer shall execute an agreement for the fulfilment of contract in Rs.100.00 Non judicial stamp paper of Tamil Nadu Government . If failed to execute the agreement, the EMD will be forfeited. The conditions stipulated in the form should be strictly adhered to and violation of any of the conditions will entail termination of the contract without prejudice to be right of the University and to recover any consequential loss from the successful tenderer.

1. **Loss or Damage**: External damages or shortages that are prima facie the results of rough handling in transit or due to defective packing will be intimated within a fortnight from the date of receipt of the material, Internal defects, damages of any internal parts that cannot ordinary be exhibited on superficial inspection though due to bad handling in transit or defective packing will be intimated within two months from the date of receipt of the stores. In either case the damaged or defective stores will have to be taken back at supplier’s cost and risk.
2. **Guarantee**: The Supplier shall undertake to repair free of charge or replace any defective part of the equipment supplied due to defective or faulty design or bad workmanship during the warranty period from the date of installation of the equipment.
3. **Leaflets and Descriptive Literature**: Full descriptive particulars and manuals of the equipment offered should accompany the tender. Information regarding the country of manufacturer or origin of materials in the manufacture of articles should be furnished.
4. **Tests:** Manufacturer’s certificate for the routine tests specified in the BSS of the test issue or as per manufacturer’s standard practice should be forwarded in duplicate. The materials will be rejected, if the test results are not satisfactory.
5. **Penalty Clause**: The delivery should be guaranteed by you under the penalty clause mentioned hereunder:

“If delivery be delayed by strike, lockouts, fire accidents or any cause whatsoever, beyond the reasonable control of the contractor and whether such delay or impediment occurs before or after the time or extended time for dispatch or completion, a reasonable extension time shall be granted.

If the contractor fails in due performance of this contract, within the time fixed by the contractor the extension thereof , the contractor is liable at discretion of the purchaser to a penalty of 4% per month of the contract value of such portion only of materials as cannot, in consequence of the delay, be used during each month between the appointed or extended time as the case may be and the actual time of acceptance, and such penalty shall be in full satisfaction of the contractor’s liability for the delay but shall no in any case exceed 25 % of the contract value of such portion of the materials.

1. . If the successful tenderer failed to act up to the tender or backs out when his tender accepted, Security deposit will also be forfeited .
2. The material should be supplied strictly in accordance with the specifications given in the Appendix and should fulfil the successful tests carried out by the Competent Authority of the University. The supply and installation should be made as per the delivery schedule The guarantee period shall take effect from the date of installation. Successful tenderer shall be liable to change any defective part during the warranty period. In either case the damaged or defective items will have to be taken back at supplier’s cost and risk.
3. The installation and training shall be done in the University campus at free of charge.
4. No communications from any tenderer adding to/adhering or explaining any terms of the tender will be considered prior to the submission or after opening of the tenders by the competent authority
5. **Amendment**

Tender Inviting Authority may amend the tender wherever it is felt that such an

amendment is absolutely necessary.

1. In case of any modifications in specifications/terms and conditions/ any clarifications to the bid document it will be uploaded in the website only and bidders are requested to verify the amendments before the submission of the tender provided no such change could be effected 48 hours prior to the time fixed for opening of the tender

The tender shall be submitted subject to and agreeing the above terms and conditions duly

attested and certified.

**TO BE FILLED IN BY THE TENDERER:**

|  |  |  |  |
| --- | --- | --- | --- |
| **Tender Cost** | | **EMD** | |
| **DD No /Date** | **Amount** | **DD No/Date** | **Amount** |
|  |  |  |  |

**SIGNATURE OF THE TENDERER WITH SEAL**

**APPENDIX**

**SCHEDULE**

|  |  |  |  |
| --- | --- | --- | --- |
| **S.No** | **Specifications** | **Qty** | **Price** |
|  | * **Plant growth chamber :** Volume: 2000 L and above * **Range:** Temperature Range: 10°C to 35°C when Lights are On & 5°C to 35°C when Lights are turned Off Humidity Range: 40% RH to 90% RH when Lights are On & Off or better * **Construction:** Doubled walled, PUF insulated, leak-proof modular panels with cam & lock arrangement for easy assembly at on-site. The thickness of PUF should be 80 mm or more exterior mild steel * **Racks & shelves:** Stainless Steel shelves,Trays:8 nos or more * **Lighting:** LED lights, Day/ night programmable cycle.   Micromole must show in display along with power sensor   * **Conditioning Unit:** Complete with tangential blowers, dry heater, ultrasonic humidity system, evaporation (cooling) coil, standby cooling coil (if applicable). * **Door:** Full length inner glass door to view the stored samples and outer metal door with gasket, lock & key. * **Heating System:** Long lasting U-shaped Stainless Steel tubular heaters should be used as a heating element. These heaters should be provided with fans for better heat transfer * **Cooling System :** CFC free cooling system consisting of hermetically sealed compressor coupled with evaporation coil and fan-cooled condenser to provide efficient cooling in the chamber. The refrigerant used should be R134A.   The compressor needs to be safeguarded with time delay.   * **Humidity System:** Humidity is by steam injection   Humidity system should contain reservoir tank & humidifier  tank, fitted with two nos. of humidifier heaters - One works  as primary and other as standby.Upon fault detection, system should automatically switches  over to the other heater & raises an alarm.  The reservoir tank should contain a float valve to maintain the water level & give an alarm upon low water level. The reservoir tank should be connected to a continuous supply of soft water (preferably DM water).   * **Humidity system must be ultrasonic generator humidification** * **Temperature and Humidity Sensor:** High-Quality Temperature and Humidity combo sensor with universal 4-20mA output.Temperature should be displayed in °C with 0.1°C resolution. Humidity must be displayed in %RH with 0.1%RH resolution chamber * **Air Circulation:** Unique bottom to top Forced air circulation system must be provided to maintain uniform it throughout the equipment. * **Display:** The Display or HMI (Human Machine Interface) should be of 4.4 inches Colour Touch Screen display showing values of temperature and humidity of all probes.   **Other important features required:**  PLC IP Address setting  Component Working Hours  Standby system change over  Password protection for set values & calibration mode  User Manual, Troubleshooting & Preventive Maintenance  procedure  Display of Alarms & its history  Controls access to door opening.  User password protection to unlock the door from outside  and Control access to up to 25 users.  Tracking of door activities.   * **Alarm Generation :** Audio and visual alarms should be generated for Temperature deviation (High and Low)   Humidity deviation, Door Opening, Utility failure, Mains  failure, Water supply failure & Component Failure (Circuit  Failure).  The software must provide all important features such as Data Logs, Alarms, Audit Trails, and Auto Backup.   * **Numerical Door Access System to restrict access to authorized users only** * Should include CO2 display 0 to 1000 PPM * Provide RO units as per the chamber require * Servo stabilizer as per chamber power should accompany the instrument. * **UPS power supply with 10 hours backup** * **Optional** * Instrument plug & play basis. * GMP- compliant, tamper – proof documentation of measuring data * Fully 21 CFR Part 11 Ready * Ethernet communication with PLC * Controlling and recording of all the chambers * Life time software should be free support even up gradation * One Desktop computer * Instrument must have a warranty of 3 years with free service visit every six months. * Tender quotation must be submitted with authorization letter from Principle /Direct Manufacture along with tender references * When we are moving to new building /Facility at the time dismantle & reinstallation must be free of cost. * Tender should be submitted along with compliances statement. |  |  |

**SIGNATURE OF THE TENDERER**

**ANNEXURE - I**

**BHARATHAIR UNIVERSITY : COIMBATORE – 46**

**TECHNICAL BID**

Tender reference No :-\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Name and address of Bidder
2. TENDER Cost :- Rs. \_\_\_\_\_\_\_\_\_\_, DD No. \_\_\_\_\_\_\_\_\_\_, dt.

Amount of EMD :- Rs. \_\_\_\_\_\_\_\_\_\_, DD No. \_\_\_\_\_\_\_\_\_\_, dt.

Bank:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Due Date of bid :
2. The bid shall remain valid for acceptance for 180 days, from the date of tender opening.
3. Schedule of Requirements:

|  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl.  No | Brief description of stores | | | | Qty  Required | Qty  Offered | Delivery | Unit  price  (Rs) | Total Cost  (Rs) |
|  |  | | | |  |  | At Bharathiar University  Coimbatore | To be filled in Annex:II | To be filled in Annex:II |
| (i) | GST |  | % |  | | - | - |  |  |
| (ii) | Warranty:- | **1 Year** | | | |  |  |  |  |
| (iii) | Other charges, if any | | | | | - | - |  |  |
| Grand total cost in Rs. | | | | | | | |  | |
| Total cost (in words) Rupees. | | | | | | | | | |

**Note:-**

1. All columns must be filled up.
2. Adhering to the format given above is a pre- requisite for considering your bid.
3. Please indicate applicability.

I/certify that I/We have completely read and understood and agree to all the terms & conditions given in Part II.

Date:- Signature of Bidder :-

Office Stamp Signing as :-

Name in block letters :-

Tele No. Fax No. e mail:-

**ANNEXURE: II**

**BHARATHAIR UNIVERSITY : COIMBATORE – 46**

**PRICE BID**

Tender reference No :- \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Name and address of Bidder
2. TENDER Cost :- Rs. \_\_\_\_\_\_\_\_\_\_, DD No. \_\_\_\_\_\_\_\_\_\_, dt.

Amount of EMD :- Rs. \_\_\_\_\_\_\_\_\_\_, DD No. \_\_\_\_\_\_\_\_\_\_, dt.

Bank:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

1. Due Date of bid :
2. The bid shall remain valid for acceptance for 180 days, from the date of tender opening.
3. Rates for items given in Techno-commercial offer at Schedule of requirements are as follows:

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sl.  No | Brief description of stores | | | | Qty  Offered | Delivery | Unit  price  (Rs) | Total Cost  (Rs) |
|  |  | | | |  | At Bharathiar University  Coimbatore |  |  |
| (i) | GST |  | % |  | - | - |  |  |
| (ii) | Other charges, if any | | | | - | - |  |  |
| Grand total cost in Rs. | | | | | | |  | |
| Total cost (in words) Rupees. | | | | | | | | |

**Note:-**

1. **All columns must be filled up.**
2. **The base price of the product and the GST rate should be mentioned separately. DSIR will be provided for the concessional rate of 5% along with the purchase order, since our university is an educational institution.**
3. **Adhering to the format given above is a pre- requisite for considering your bid.**
4. **Please indicate applicability.**

Date:- Signature of Bidder :-

Office Stamp Signing as :-

Name in block letters :-

Tele No. Fax No. e mail:-

**BHARATHIAR UNIVERSITY : COIMBATORE – 46**

**LETTER OF ACCEPTANCE**

Tender No.

Date :

To

THE REGISTRAR

Bharathiar University

Coimbatore – 641 046.

I/We agree to furnish required supplies / services as detailed in the Tender schedule or such portions thereof as you may specify in the Acceptance of Tender in accordance with the General Terms and Conditions governing the contract / supply order enclosed hereto duly accepted on receipt of the order for the same.

I /We agree to hold this offer open until and shall be bound to supply / omission /erect the equipment and despatch the same within the specified period.

I/ We agree to supply and commission /erect the equipment and complete the whole of the work and hand over to the purchaser within the period of weeks. From the date of receipt of intimation from you regarding acceptance of this tender / receipt of supply order.

Signature of the bidder

With office stamp

Name & Address

Station:-

Date :-